GUIDE SPECIFICATION

SECTION 03362

CONCRETE FINISHES

DRY-SHAKE COLORED HARDENER

******************************************************************************

This guide specification is intended to be used by a qualified construction specifier.  It is not intended to be used verbatim as a project specification without appropriate modifications for the specific use intended.

Notes for review by the specifier are set off from specification text by rows of asterisks.  Optional text requiring a selection is enclosed within brackets, e.g., "Color shall be [gray] [white]."  Items requiring input specifier input are enclosed within brackets, e.g., "Color: [_______]."

******************************************************************************

GENERAL

SUMMARY

Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to Work of this Section.

Section Includes:

Dry-shake colored hardener applied to [slabs-on-grade,] [sidewalks,] [driveways,] [patios,] [roads,] [parking lots,] [_______,] [and] [other exterior concrete pavements].

Curing of colored concrete.

Related Sections:

Division 3 Section "Cast-In-Place Concrete" for general applications of concrete [and cementitious or epoxy mortar, underlayments, or toppings].

Division 7 Section "Joint Sealants" for colored sealants for joints.

REFERENCES

******************************************************************************

Other useful publications about colored concrete include:

PCA PA124 - Finishing Concrete Slabs with Color and Texture.

PCA SP021 - Color and Texture in Architectural Concrete.

******************************************************************************

American Concrete Institute (ACI):

ACI 301 "Specification for Structural Concrete for Buildings."

ACI 302 IR "Recommended Practice for Concrete Floor and Slab Construction."

ACI 303.1 "Standard Specification for Cast-In-Place Architectural Concrete."

ACI 304 "Recommended Practice for Measuring, Mixing, Transporting and Placing of Concrete."

ACI 305R "Recommended Practice for Hot Weather Concreting."

ACI 306R "Recommended Practice for Cold Weather Concreting."

American Society of Testing and Materials (ASTM):

ASTM C309 "Standard Specifications for Liquid Membrane-Forming Compounds for Curing Concrete."

ASTM C494 "Standard Specification for Chemical Admixtures for Concrete."

SUBMITTALS

Product Data: Submit manufacturer's complete technical data sheets for the following:

Dry-shake colored hardener.

Curing compound.

Design Mixes:  For each type of concrete.

Samples for Initial Selection:  Manufacturer's color charts showing full range of colors available.

Qualification Data:  For firms indicated in "Quality Assurance" Article, including list of completed projects.

QUALITY ASSURANCE

Manufacturer Qualifications:  Manufacturer with 10-years experience in manufacture of specified products.

Installer Qualifications: An installer with [5-] [________] years experience with work of similar scope and quality.

Comply with the requirements of ACI 301.

Obtain each specified material from same source and maintain high degree of consistency in workmanship throughout Project.

Notification of manufacturer's authorized representative shall be given at least 1-week before start of Work.

******************************************************************************
Color charts and small sample submittals provide only a general indication of color; color and appearance of completed work may differ.  On large or critical projects, specify a mockup or field sample to demonstrate that proposed materials and workmanship produce acceptable concrete appearance.

******************************************************************************

Colored Concrete [Mockup] [Field Samples]:

Provide under provisions of Division 1 Section ["Quality Control."] [________.]

At location on Project selected by [Architect] [Landscape Architect] [Engineer], place and finish [10 feet by 10 feet (3 by 3 m)] [4 by 4 feet (1.2 by 1.2 m)] [________] area.

Construct [mockup] [sample panel] using processes and techniques intended for use on permanent work, including curing procedures.  Include samples of control, construction, and expansion joints in sample panels.  [Mockup] [Field sample] shall be produced by the individual workers who will perform the work for the Project.

Accepted [mockup] [field sample] provides visual standard for work of Section.

[Mockup] [Field sample] shall remain through completion of the work for use as a quality standard for finished work.

Remove [mockup] [field sample] when directed.

DELIVERY, STORAGE, AND HANDLING

Deliver products in original factory unopened, undamaged packaging bearing identification of product, manufacturer, batch number, and expiration data, as applicable.

Store the product in a location protected from damage, construction activity, and precipitation in strict accordance with the manufacturer's recommendations.

PROJECT CONDITIONS

Schedule placements to minimize exposure to wind and hot sun before curing materials are applied.

Avoid placing concrete if rain, snow, or frost is forecast within 24-hours.  Protect fresh concrete from moisture and freezing.

Comply with professional practices described in ACI 305R and ACI 306R.

PRE-JOB CONFERENCE

One week prior to placement of concrete, a meeting shall be held to discuss the Project and application methods.

It is suggested that the [Architect,] [Landscape Architect,] [Engineer,] General Contractor, [Construction Manager,] Subcontractor, Ready-Mix Concrete Representative, and a Manufacturer's Representative be present.

PRODUCTS

ACCEPTABLE MANUFACTURER

MATCRETE(; 1495 Hudson Avenue, Ontario, California 91761, USA. Toll Free: (800) 777-7063.  Tel: (909) 635-0160.  Fax: (909) 635-0165.  Email: info@matcrete.com.
Web: www.matcrete.com.

MATERIALS

Dry-Shake Colored Hardener: MATCRETE( Dustone Color Hardener™ (MADE IN THE USA); factory proportioned, mixed, and packaged, ready-to-use surface hardener.

Curing Compound for Dry-Shake Colored Hardener Concrete:  MATCRETE( Dustone Colorseal™ Cure Coat. Curing compound shall comply with ASTM C309 and be of same manufacturer as colored admixture, for use with dry-shake colored hardener concrete.

SUBSTITUTIONS:  The use of products other than those specified will be considered providing that the Contractor requests its use in writing within 14 days prior to bid date.

COLORS

Dry-Shake Color Hardener

Color as selected by [Architect] [Landscape Architect] [Engineer] from MATCRETE(  Dustone Color Chart.

Custom color as selected by [Architect] [Landscape Architect] [Engineer].

CONCRETE MIX DESIGN

Minimum Cement Content:  [5] [________] sacks per cubic yard of concrete.

Slump of concrete shall be consistent throughout Project at 4-inches or less.  At no time shall slump exceed 5-inches.  [If super plasticizers or mid-range water reducers are allowed, slump shall not exceed 8-inches.]

Do not add calcium chloride to mix as it causes mottling and surface discoloration.

Supplemental admixtures shall not be used unless approved by manufacturer.

Do not add water to the mix in the field.

Maximum air content shall not exceed 5 percent.

EXECUTION

CONCRETE PLACEMENT

Move concrete into place with square-tipped shovels or concrete rakes.

Vibrators, when used, shall be inserted and withdrawn vertically.

Concrete shall be struck to specified level with wood or magnesium straight edge or mechanical vibrating screed.

The concrete surface shall be further leveled and consolidated with highway magnesium straight edge and/or magnesium bull float.

Mechanically float concrete surfaces as soon as concrete surface has taken its initial set and will support weight of a power float machine equipped with float shoes or combination blades and operator.

INSTALLATION – DRY-SHAKE COLORED HARDENER

Apply 2/3 of specified application rate to freshly floated concrete surface.  Bleed water shall not be present during or following application of first and second shake.

Do not throw dry-shake material; distribute evenly by hand.

As soon as dry-shake material has absorbed moisture, indicated by uniform darkening of surface, mechanically float concrete surface a second time, just enough to bring moisture from base slab through dry-shake color hardener.

Immediately following second floating, apply remaining 1/3 of specified application rate.  If applied by hand, broadcast in opposite direction of first application for a more uniform coverage.  If a mechanical spreader is used, apply the same manner as previously described.

As soon as dry-shake material has absorbed moisture, mechanically float concrete surface a third time.

Do not add water to the surface.

As surface further stiffens, remove float blades to expose the power finishing blades or raise combination blades slightly.  Flat trowel surface to remove marks and pinholes.

Further troweling operations can be done, each time raising blades, until desired texture or finish is obtained.

DO NOT BURNISH TROWEL COLORED SURFACE FLOOR HARDENERS.

CURING

Floors shall be cured with liquid membrane [curing] [curing and sealing] compound as recommended by manufacturer.

Apply immediately after floor surface has hardened sufficiently so that application of [curing] [curing and sealing] compound will not mar surface.  Apply uniformly over entire surface at coverage rate recommended by manufacturer and meeting or exceeding the moisture retention requirements of ASTM C309.

There should be no free water on surface at time of application.

PROTECTION OF FINISHED WORK

Protect finish work under provisions of Division 1 Section ["Temporary Facilities and Controls."] [________.]

Prohibit foot or vehicular traffic on floor surface.

Barricade area to protect flooring.

Protect floor surface from damage until final inspection and acceptance by Owner.

******************************************************************************

Coordinate Schedule name with Drawings or delete Article if Schedule is not required.

******************************************************************************

SCHEDULE

Refer to Room Finish Schedule for locations of specified floor finish.

3.6	APPLICATOR

A.	For a list of qualified contractors, contact MATCRETE(; 1495 Hudson Avenue, Ontario, California 91761, USA. Toll Free: (800) 777-7063.  Tel: (909) 635-0160.  Fax: (909) 635-0165. Email: info@matcrete.com. Web: www.matcrete.com.

END OF SECTION

© Copyright 2008. All rights reserved.